Policy for Use of Portable Electrical Equipment

Introduction

The Regulations covering the maintenance of portable electrical equipment are the Electricity at Work Regulations (NI) 1991 which require portable electrical equipment to be maintained in a safe condition.  The duty is qualified by the words ‘so far as is reasonably practicable’.

Portable electrical equipment testing is a delegated item under LMS and as such the onus is on the Board of Governors to ensure the relevant safety inspections are carried out.

The Employing Authority Policy for Portable Appliance testing has been agreed with the Health and Safety Executive for Northern Ireland and applies to low risk environments only.  Schools are deemed to be in this category.

Portable Appliance Testing is a duty placed upon the Employer and schools.  Schools are required to engage in a contract for the examination and testing of portable appliances.

All persons using equipment can be instructed to recognise visual signs that indicate the equipment is not in sound condition, e.g.:

- The plug is damaged, e.g. the casing is cracked or the pins are bent.

- The outer sheath of the cable is not effectively secured where it enters the plug or the equipment.  Obvious evidence would be if the coloured insulation of the internal cable cores was showing.

- There is damage to the external casing of the equipment or there are some loose parts or screws.

- There is damage (apart from light scuffing) to the cable sheath or taped joints.

- The equipment has been subjected to conditions for which it is not suitable, e.g. it is wet.

- There is evidence of overheating.

A list of all Portable Electrical Appliances in the school is kept, together with the type, serial number and location. This is maintained within the Inventory of Equipment.

The inventory must be kept up to date between inspection dates and be available to the Health and Safety Section or Health and Safety Executive inspectors on request.

Electrical items owned by staff members are not to be brought into the school unless they have a current Test Certificate (i.e. within the last six months).  In all cases the Principal is to be made aware of the Intention to use ‘private’ electrical equipment in the School.